## Slide 1
RTP CHILLER BYPASS 方式

## Slide 2
AG8108 Relay panel
Relay panel backside JR5 connect

## Slide 3
拆下機台外蓋 door  relay panel  將面板外翻將 J5R connect pin
13/14 ,15/16 bypass.
Check machine power on 無 chiller flow alarm.
Pin 13/14 connect bypass.
Pin 15/16 connect bypass.