## IMP FTIR資料庫
Updated: 2013/8/30
Item | Dept. | Moudle | Location ID | Eq. ID | Scrubber Maker | Scrubber ID | TUNNEL | Application | Process Gas(Chemical) | Clean Gas |  | By product |  | Drain Piping | 意外事故 | 環境測定 | FTIR | 作業觀察 | 化學品用量 | 附屬機台 | 備註
[11 empty] | 供機械手臂及閥開關用之Gas |  | 廢棄物
1 | S220 | IMP | U08 | NV-6200A | dry scrubber | U8 | U | Medium current | BF3 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商:Axcelis Model:NV-6200A,S/N:720
2 | S220 | IMP | U11 | NV-6200A | dry scrubber | U11 | U | Medium current | BF3 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商:Axcelis Model:NV-6200A,S/N:739
3 | S220 | IMP | G07 | E500HP | P.E scrubber ，dry scrubber | G7 | G | Medium current | BF3、PH3 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商:Varian 序號:0037120
4 | S220 | IMP | G09 | E500HP | P.E scrubber ，dry scrubber | G9 | G | Medium current | BF3、PH3 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商:Varian 序號:0037134
5 | S220 | IMP | E24 | E500HP | P.E scrubber |  | E | Medium current | BF3、PH3 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商:Varian 序號:0037256
5 | S220 | IMP | G06 | E500HP | P.E scrubber ，dry scrubber |  | G | Medium current | BF3、PH3 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商:Varian 序號:0037173
6 | S220 | IMP | U09 | GSD-100 | dry scrubber，P.E scrubber | U9 ， | U | High current | ASH3、BF3、PH3 | N2 | [10 empty] | 製造商:Axcelis 序號:0640016
7 | S220 | IMP | U10 | GSD-100 | dry scrubber，P.E scrubber | U10 ， | U | High current | ASH3、BF3、PH3 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商:Axcelis 序號:0700023
8 | S220 | IMP | G06 | GSD-200 | dry scrubber | G6 | G | High current | ASH3、BF3、PH3 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商:Axcelis 序號:0800206,已售出
9 | S220 | IMP | G08 | GSD-200 | dry scrubber，P.E scrubber | B ， G6 | G | High current | ASH3、BF3、PH3 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商:Axcelis 序號:0800218
10 | S220 | IMP | G10 | GSD-200 | dry scrubber | G10 | G | High current | ASH3、BF3、PH3 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商:Axcelis 序號:0800244
11 | S220 | IMP | E25 | VIISION 200 | P.E scrubber |  | E | High current | ASH3、BF3、PH3 | N2 | [10 empty] | 製造商:Varian 序號:0078029
12 | S220 | SURFACE SCAN | K15 | 4500 |  |  | K | PARTICLE量測 |  |  |  | N/A | N/A | N/A | [6 empty] | 製造商:KLA-TENCOR(科磊) 報廢
13 | S220 | SURFACE SCAN | U13 | 6400 |  |  | U | PARTICLE量測 | [12 empty] | 製造商:KLA-TENCOR(科磊),MDL NO:234150,S/N:0295-163 SFS 6400
14 | S220 | SURFACE SCAN | D78 | 6420 |  |  | D | PARTICLE量測 |  |  |  | N/A | N/A | N/A | [6 empty] | 製造商:KLA-TENCOR(科磊),MDL NO:289108,S/N:0798-528 SFS 6420
15 | S220 | SURFACE SCAN | B52 | 6420 |  |  | B | PARTICLE量測 | [12 empty] | 製造商:KLA-TENCOR(科磊),MDL NO:289108,S/N:1195-168 SFS 6420
16 | S220 | RS METER | D50 | RS-55 |  |  | D | 阻值量測 |  |  |  | N/A | N/A | N/A | [6 empty] | 製造商:KLA-TENCOR(科磊),S/N:9203RS55-01
17 | S220 | RS METER | U22 | VP10e |  |  | U | 阻值量測 | [12 empty] | 製造商:creative design engineering inc.(科磊) S/N: 9203VP10E-01
18 | S220 | RS METER | K16 | RESMAP controller |  |  | K | 阻值量測 |  |  |  | N/A | N/A | N/A | [6 empty] | 製造商:KLA-TENCOR(科磊) S/N: S11051178
19 | S220 | CV PLOTTER | D49 | SSM 470i |  |  | D | 量測CV | [12 empty] | 製造商:KROMAX(奇裕),S/N:無名牌
20 | S220 | CV PLOTTER | WAT | SSM 470i |  |  | W | 量測CV |  |  |  | N/A | N/A | N/A | [6 empty] | 製造商:KROMAX(奇裕),S/N:139 故障在樓下一樓 U4-5 gas detector下方暫放
21 | S220 | SCA | D90 | SCA 2500 |  |  | D | 量測表面電荷 | [12 empty] | 製造商:科榮(柏東),S/N:2106
21 | S220 | TW | U20 | TP-400 | heat exhaust |  | U | THERMA-WAVE | [12 empty] | 製造商:THERMA-WAVE(光瑟),故障無法使用
22 | S220 | TW | U25 | TP-500 | heat exhaust |  | U | THERMA-WAVE | [12 empty] | 製造商:THERMA-WAVE(光瑟),S/N:3707

## FURNACE FTIR資料庫
Updated: 01/25/2005
Item | Dept. | Moudle | Location ID | Eq. ID | Scrubber Maker | Scrubber ID | TUNNEL |  | Application | Process Gas(Chemical) | Clean Gas |  | By product |  | Drain Piping | 意外事故 | 環境測定 | FTIR | 作業觀察 | 化學品用量 | 附屬機台 | 備註
[8 empty] | UZ |  |  |  | 供機械手臂及閥開關用之Gas |  | 廢棄物
1 | S220 | DIFF | D76/F01 | VDF-615S | ACID EXHAUST |  | D |  | FIELD OXIDE | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited VF225010
2 | S220 | DIFF | D75/F02 | VDF-615S | ACID EXHAUST |  | D |  | FIELD OXIDE | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited VF335021
3 | S220 | DIFF | D74/F03 | VDF-615S | ACID EXHAUST |  | D |  | FIELD OXIDE | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited VF225009
4 | S220 | DIFF | D73/F04 | VDF-615S | ACID EXHAUST |  | D |  | WELL DIFF | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited VF2X5090
5 | S220 | DIFF | D71/F05 | VDF-615S | ACID EXHAUST |  | D |  | WELL DIFF | O2,H2,TRANS-LC | N2 | [10 empty] | 製造商: Tokyo electron limited VF225013
6 | S220 | DIFF | D06/F06 | VDF-615S | ACID EXHAUST |  | D |  | GATE OXIDE | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited VF225008
7 | S220 | DIFF | D72/F07 | VDF-615S | ACID EXHAUST |  | D |  | FIELD OXIDE | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '200009415007
8 | S220 | DIFF | D70/F08 | VDF-615S | ACID EXHAUST |  | D |  | WELL DIFF | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited VF335024
9 | S220 | DIFF | D69/F09 | VDF-615S | ACID EXHAUST |  | D |  | WELL DIFF | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited VF335020
11 | S220 | DIFF | D68/F10 | VDF-615S | ACID EXHAUST |  | D |  | GATE OXIDE | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited VF335019
12 | S220 | DIFF | D67/F11 | VDF-615S | ACID EXHAUST |  | D |  | WELL DIFF | O2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited VF335022
13 | S220 | DIFF | D66/F12 | VDF-615S | ACID EXHAUST |  | D |  | PAD OXIDE | O2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited VF335023
14 | S220 | DIFF | D65/F13 | VDF-615S | ACID EXHAUST |  | D |  | N+ DOPE | POCL3 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited VF335025
15 | S220 | DIFF | D64/F14 | VDF-615S | ACID EXHAUST |  | D |  | PAD OXIDE | O2,TRANS-LC | N2 | [10 empty] | 製造商: Tokyo electron limited '200009415006
16 | S220 | DIFF | D63/F15 | VDF-615S | ACID EXHAUST |  | D |  | FIELD OXIDE | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '200009415005
17 | S220 | DIFF | D62/F16 | VDF-615S | ACID EXHAUST |  | D |  | GATE OXIDE | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '200009455028
18 | S220 | DIFF | D61/F17 | VDF-615S | ACID EXHAUST |  | D |  | PAD OXIDE | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited' 200009455029
19 | S220 | DIFF | D41/F18 | VDF-615S | ACID EXHAUST |  | D |  | GATE OXIDE | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '200009455026
20 | S220 | DIFF | D40/F19 | VDF-615S | ACID EXHAUST |  | D |  | GATE OXIDE | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '200009455027
21 | S220 | DIFF | D39/F20 | VDF-615S | ACID EXHAUST |  | D |  | SAC OXIDE | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '200009415004
22 | S220 | DIFF | D38/F21 | VDF-615S | ACID EXHAUST |  | D |  | SAC OXIDE | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '200009415003
23 | S220 | DIFF | D37/F22 | VDF-615S | ACID EXHAUST |  | D |  | SAC OXIDE | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '200009415002
24 | S220 | DIFF | D57/F23 | VDF-615S | ACID EXHAUST |  | D |  | GATE OXIDE | O2,H2,TRANS-LC | N2 | [10 empty] | 製造商: Tokyo electron limited VF225007
25 | S220 | DIFF | D60/F24 | VDF-615S | ACID EXHAUST |  | D |  | WELL DIFF | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited VF225011
26 | S220 | DIFF | D54/F25 | VDF-615S | ACID EXHAUST |  | D |  | N+ DOPE | POCL3 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited VF225014
27 | S220 | DIFF | D53/F26 | VDF-615S | ACID EXHAUST |  | D |  | PAD OXIDE | O2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited VF225012
28 | S220 | DIFF | E19/F27 | VDF-615S | ACID EXHAUST |  | E |  | ALLOY | H2 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited VF225015
29 | S220 | DIFF | E18/F28 | VDF-615S | ACID EXHAUST |  | E |  | CURING | O2 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited VF225016
30 | S220 | DIFF | E17/F29 | VDF-615S | ACID EXHAUST |  | E |  | ALLOY | H2 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '200009415008
31 | S220 | DIFF | E23/F30 | VDF-615S | ACID EXHAUST |  | E |  | CURING | O2 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '200009455030
32 | S220 | DIFF | B29/F31 | 5100 | ACID EXHAUST |  | B |  | POLYMIDE | O2 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Koyo Lindberg
33 | S220 | DIFF | I01/F32 | VDF-615S | ACID EXHAUST |  | I |  | S/D;POLY OXIDE | O2,H2,TRANS-LC | N2 | [10 empty] | 製造商: Tokyo electron limited '2000094Z5087
34 | S220 | DIFF | I02/F33 | VDF-615S | ACID EXHAUST |  | I |  | S/D;POLY OXIDE | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '2000094Z5088
35 | S220 | DIFF | I03/F34 | VDF-615S | ACID EXHAUST |  | I |  | S/D;POLY OXIDE | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '2000094Z5089
36 | S220 | DIFF | I04/F35 | VDF-615S | ACID EXHAUST |  | I |  | S/D;POLY OXIDE | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '2000094Z5090
37 | S220 | DIFF | I05/F36 | VDF-615S | ACID EXHAUST |  | I |  | BPSG FLOW/ANNEAL | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '2000094Z5091
38 | S220 | DIFF | I06/F37 | VDF-615S | ACID EXHAUST |  | I |  | BPSG FLOW/ANNEAL | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '2000094Z5092
39 | S220 | DIFF | I07/F38 | VDF-615S | ACID EXHAUST |  | I |  | BPSG FLOW/ANNEAL | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '2000094Z5093
40 | S220 | DIFF | D30/F39 | VDF-615S | ACID EXHAUST |  | I |  | N+ DOPE | POCL3 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '2000095Y5056
41 | S220 | DIFF | J02/F40 | VDF-615S | ACID EXHAUST |  | I |  | ALLOY | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '2000095Y5055
42 | S220 | DIFF | J05/F41 | VDF-615S | ACID EXHAUST |  | I |  | SAC OXIDE | O2,H2,TRANS-LC | N2 | [10 empty] | 製造商: Tokyo electron limited '200009615003
43 | S220 | DIFF | J06/F42 | VDF-615S | ACID EXHAUST |  | I |  | WELL DIFF | O2,H2,TRANS-LC | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '200009615004
44 | S220 | DIFF | D49/F43 | 5100 | ACID EXHAUST |  | D |  | POLYMIDE | O2 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Koyo Lindberg VF-5100BV30X111
45 | S220 | DIFF | B49/F44 | VDF-615S | ACID EXHAUST |  | B |  | CURING | H2 | N2 | [10 empty] | 製造商: Tokyo electron limited '200009715001
46 | S220 | DIFF | B50/F45 | VDF-615S | ACID EXHAUST |  | B |  | CURING | H2 | N2 | [10 empty] | 製造商: Tokyo electron limited '200009715002
47 | S220 | DIFF | D03/LP-N1 | VCF-615S | PROCESS EXHAUST |  | D |  | LP-N | NH3,SIH2CL2 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited VF225004
48 | S220 | DIFF | D04/LP-N2 | VCF-615S | PROCESS EXHAUST |  | D |  | LP-N | NH3,SIH2CL2 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited VF2X5087
49 | S220 | DIFF | D07/LP-N3 | VCF-615S | PROCESS EXHAUST |  | D |  | LP-N | NH3,SIH2CL2 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited VF335026
50 | S220 | DIFF | D11/LP-N4 | VCF-615S | BURN BOX |  | D |  | LP-N | NH3,SIH2CL2 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '200009415009
51 | S220 | DIFF | D17/LP-N5 | VCF-615S | BURN BOX |  | D |  | LP-N | NH3,SIH2CL2 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '200009455033
52 | S220 | DIFF | D18/LP-N6 | VCF-615S | BURN BOX |  | D |  | LP-N | NH3,SIH2CL2 | N2 | [10 empty] | 製造商: Tokyo electron limited '2000094Z5094
53 | S220 | DIFF | D19/LP-N7 | VCF-615S | BURN BOX |  | D |  | LP-N | NH3,SIH2CL2 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '2000094Z5095
54 | S220 | DIFF | D56/LP-P1 | VCF-615S | BURN BOX |  | D |  | LP-P | SIH4 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '200009455032
55 | S220 | DIFF | D55/LP-P2 | VCF-615S | BURN BOX |  | D |  | LP-P | SIH4 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '200009415010
56 | S220 | DIFF | D59/LP-P3 | VCF-615S | PROCESS EXHAUST |  | D |  | LP-P | SIH4 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited VF225005
57 | S220 | DIFF | D58/LP-P4 | VCF-615S | PROCESS EXHAUST |  | D |  | LP-P | SIH4 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited VF2X5088
58 | S220 | DIFF | J04/LP-P6 | VCF-615S | BURN BOX |  | J |  | LP-P | SIH4 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '2000095Y5054
59 | S220 | DIFF | J07/LP-P7 | VCF-615S | BURN BOX |  | J |  | LP-P | SIH4 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '200009645006
60 | S220 | DIFF | D02/LP-T1 | VCF-615S | PROCESS EXHAUST |  | D |  | LP-T | TEOS | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited VF2X5089
61 | S220 | DIFF | D01/LP-T2 | VCF-615S | PROCESS EXHAUST |  | D |  | LP-T | TEOS | N2 | [10 empty] | 製造商: Tokyo electron limited VF225006
62 | S220 | DIFF | D05/LP-T3 | VCF-615S | BURN BOX |  | D |  | LP-T | TEOS | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited VF335027
63 | S220 | DIFF | D08/LP-T4 | VCF-615S | BURN BOX |  | D |  | LP-T | TEOS | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '200009415011
64 | S220 | DIFF | D09/LP-T5 | VCF-615S | BURN BOX |  | D |  | LP-T | TEOS | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '200009415012
65 | S220 | DIFF | D10/LP-T6 | VCF-615S | BURN BOX |  | D |  | LP-T | TEOS,SIH2CL2,N2O | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '200009455031
66 | S220 | DIFF | J03/LP-T8 | VCF-615S | BURN BOX |  | J |  | LP-T | TEOS | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '2000095Y5053
67 | S220 | DIFF | J08/LP-T9 | VCF-615S | BURN BOX |  | J |  | HTO | SIH2CL2,N2O | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Tokyo electron limited '200009645005
68 | S220 | DIFF | S3-4/GRD-2 | DFG-840 | ACID EXHAUST |  | WAT |  | GRINDER | HPA | N/A |  | N/A | N/A | N/A | [6 empty] | 製造商: Disco(家榮) EN1143
69 | S220 | DIFF | S3-5/GRD-3 | DFG-840 | ACID EXHAUST |  | WAT |  | GRINDER | HPA | N/A |  | N/A | N/A | N/A | [6 empty] | 製造商: Disco(家榮) EN1181
70 | S220 | DIFF | G12/RTP-1 | AG8108 | HEAT EXHAUST |  | G |  | RTP | N2 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: AG Associates 1A95080
71 | S220 | DIFF | G13/RTP-2 | AG8108 | HEAT EXHAUST |  | G |  | RTP | N2 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: AG Associates 1H96233
72 | S220 | DIFF | G16/RTP-3 | AG8108 | HEAT EXHAUST |  | G |  | RTP | N2 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: AG Associates 1C97259
73 | S220 | DIFF | K6/RTP-4 | AG8108 | ACID EXHAUST |  | K |  | RTP | N2 | N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: AG Associates 1E97258
74 | S220 | DIFF | A64-/WSIX-1 | CENTURA 5200 | BURN BOX |  | A |  | WSIX | SIH4,NF3,WF6 | AR,N2 | [10 empty] | 製造商: Applied Materials 1006
75 | S220 | DIFF | G15/WSIX-2 | CENTURA 5200 | BURN BOX |  | G |  | WSIX | SIH4,NF3,WF6 | AR,N2 |  | N/A | N/A | N/A | [6 empty] | 製造商: Applied Materials 2967
77 | S220 | DIFF | I12/EM-6 | FE-VII-D | N/A |  | I |  | ELLIPSOMETER | N/A | N/A |  | N/A | N/A | N/A | [6 empty] | 製造商: Rudolph Technologies Inc. 10809
78 | S220 | DIFF | A62/EM-4 | FE-III | N/A |  | A |  | ELLIPSOMETER | N/A | N/A |  | N/A | N/A | N/A | [6 empty] | 製造商: Rudolph Technologies Inc. 10707
79 | S220 | DIFF | D77/EM-5 | FE-VII | N/A |  | D |  | ELLIPSOMETER | N/A | N/A |  | N/A | N/A | N/A | [6 empty] | 製造商: Rudolph Technologies Inc. 10791
81 | S220 | DIFF | S3-8/PASTE-2 | DR8500II | N/A |  | WAT |  | PASTE | HPA | N/A | [10 empty] | 製造商: Nitto Denko Corporation(日東) W294H05
82 | S220 | DIFF | S-2/PIP | HR8500 | N/A |  | WAT |  | RIP | HPA | N/A | [10 empty] | 製造商: Nitto Denko Corporation(日東) H928I92
83 | S220 | DIFF | S2-4/打酸機 | S-713 | N/A |  | 洗管間 |  | 打酸機 | HNO3,HF,HPA,N2 | N/A | [10 empty] | 製造商:Polyflow Engineering Inc. 14960/14918
84 | S220 | DIFF | S2-5/垂直洗管機 | S-610 | N/A |  | 洗管間 |  | 垂直洗管機 | HNO3,HF,HPA,N2 | N/A | [10 empty] | 製造商:Polyflow Engineering Inc. 14917
85 | S220 | DIFF | S2/10/水平洗管機 | N/A | N/A |  | 洗管間 |  | 水平洗管機 | HNO3,HF,HPA,N2 | N/A | [10 empty] | 製造商:Polyflow Engineering Inc. N/A
86 | S220 | DIFF | S2-11/水平洗管機 | M6156C | N/A |  | 洗管間 |  | 水平洗管機 | HNO3,HF,HPA,N2 | N/A | [10 empty] | 製造商:默林科技 N/A
87 | S220 | DIFF | S2-9/吹管機 | HI91101 | N/A |  | 洗管間 |  | 吹管機 | HPA | N/A | [10 empty] | 製造商:默林科技 N/A
88 | S220 | DIFF | A37/SORT-A1 | N2X | N/A |  | A |  | SORTER | HPA,PHV | N/A | [10 empty] | 製造商:那達科技,S/N:N7800006
89 | S220 | DIFF | A67/SORT-A2 | SPP150A64 | N/A |  | A |  | SORTER | N/A | N/A | [10 empty] | 製造商:瑞斯福科技,S/N:SPP150A64SN0111
90 | S220 | DIFF | B53/SORT-B1 | SPP150A54 | N/A |  | B |  | SORTER | N/A | N/A | [10 empty] | 製造商:瑞斯福科技,S/N:SPP150A54SN074
91 | S220 | DIFF | C26/SORT-C1 | N2X | N/A |  | C |  | SORTER | HPA,PHV | N/A | [10 empty] | 製造商:那達科技,S/N:N7800005
92 | S220 | DIFF | D89/SORT-D1 | SPP150A64 | N/A |  | D |  | SORTER | N/A | N/A | [10 empty] | 製造商:瑞斯福科技,S/N:SPP150A64SN0110
93 | S220 | DIFF | D21/SORT-D2 | N2S | N/A |  | D |  | SORTER | HPA,PHV | N/A | [10 empty] | 製造商:那達科技,S/N:N7800008
94 | S220 | DIFF | E20/SORT-E1 | SPP150A54 | N/A |  | E |  | SORTER | N/A | N/A | [10 empty] | 製造商:瑞斯福科技,S/N:SPP150A54SN097
95 | S220 | DIFF | G11/SORT-G1 | SPP150A64 | N/A |  | G |  | SORTER | N/A | N/A | [10 empty] | 製造商:瑞斯福科技,S/N:SPP150A64SN0109
96 | S220 | DIFF | I11/SORT-I1 | SPP150A64 | N/A |  | I |  | SORTER | N/A | N/A | [10 empty] | 製造商:瑞斯福科技,S/N:SPP150A64SN131
97 | S220 | DIFF | J16/SORT-J1 | SPP150A64 | N/A |  | J |  | SORTER | N/A | N/A | [10 empty] | 製造商:瑞斯福科技,S/N:SPP150A64SN0108
98 | S220 | DIFF | K20/SORT-K1 | N2S | N/A |  | K |  | SORTER | HPA,PHV | N/A | [10 empty] | 製造商:那達科技,N7800009
99 | S220 | DIFF | S3-9/SORT-W1 | N3X | N/A |  | WAT |  | SORTER | HPA,PHV | N/A | [10 empty] | 製造商:那達科技,N7800007